## EYE WASH
NO | AREA | LOKASI | NO. LAMBUNG | NO. REGISTER
1 | WORKSHOP | Workshop Fabrikasi (BAY) | 1 | EW-001
2 | WORKSHOP | Workshop Fabrikasi (BAY) | 2 | EW-002
3 | WORKSHOP | Workshop Fabrikasi (BAY) | 3 | EW-003
4 | WORKSHOP | Workshop Fabrikasi (SRJ) | 1 | EW-004
5 | WORKSHOP | Workshop Fabrikasi (SRJ) | 2 | EW-005
6 | WORKSHOP | Workshop Tyre | 1 | EW-006
7 | WORKSHOP | Workshop Tyre | 2 | EW-007
8 | WORKSHOP | Workshop Tyre (PT.BJS) | 1 | EW-008
9 | WORKSHOP | Workshop UTAMA (BAY) | 1 | EW-009
10 | WORKSHOP | Workshop UTAMA (BAY) | 2 | EW-010
11 | WORKSHOP | Workshop UTAMA (BAY) | 3 | EW-011
12 | WORKSHOP | Workshop UTAMA (BAY) | 4 | EW-012
13 | WORKSHOP | Limbah B3 | 1 | EW-013
14 | WORKSHOP | Limbah B3 | 2 | EW-014
15 | WORKSHOP | Gudang Oli | 1 | EW-015
18 | MESS BARU | Genset Mess Baru | 1 | EW-018
19 | MESS BARU | WTP 01 | 1 | EW-019
20 | ROM | Office AMM | 1 | EW-020
21 | ASSEMBLY | Assembly PPA (Lifting) | 1 | EW-021
22 | ASSEMBLY | Workshop High Voltage Elektrik | 1 | EW-022
23 | ASSEMBLY | Workshop Dewatering | 1 | EW-023
24 | WORKSHOP | WS.Temporary (Patria Fabrikasi) | 1 | EW-024
33 | WORKSHOP | WS.Temporary (Workshop BTB) | 1 | EW-033
34 | GUDANG HANDAK | Gudang Handak (Amunium Nitrat) | 1 | EW-034
35 | GUDANG HANDAK | Gudang Handak (Workshop MNK) | 2 | EW-035
36 | GUDANG HANDAK | Gudang Handak (Emulsion Plant) | 3 | EW-036
37 | GUDANG HANDAK | Gudang Handak (Emulsion Plant) | 4 | EW-037
38 | WAREHOUSE | Warehouse Fa & Log | 1 | EW-038
39 | WAREHOUSE | Warehouse Bina Pertiwi | 1 | EW-039
40 | WAREHOUSE | Warehouse Mastratech | 1 | EW-040
41 | PIT STOP KGU-U | Pit stop KGU-Utara (Fabrikasi) | 1 | EW-041
42 | PIT STOP KGU-U | Pit stop KGU-Utara (Track) | 2 | EW-042
43 | PIT STOP KGU-U | Pit stop KGU-Utara (Wheel) | 3 | EW-043
44 | PIT STOP KGU-U | Pit stop KGU-Utara (Wheel) | 4 | EW-044
45 | PIT STOP KGU-U | Pit stop KGU-Utara (Fa & Log) | 5 | EW-045
46 | PIT STOP KGU-U | Pit stop KGU-Utara (Bina Pertiwi) | 6 | EW-046
47 | PIT STOP KGU-T | pit stop KGU Tengah (Track) | 1 | EW-047
48 | FUEL STORAGE | Fuel Storage (IN) | 1 | EW-048
49 | FUEL STORAGE | Fuel Storage (OUT) | 2 | EW-049
50 | WORKSHOP | Workshop Transport (Koperasi) | 1 | EW-050
51 | WORKSHOP | Workshop Transport (Transkon) | 2 | EW-051
52 | WORKSHOP | Workshop Transport (Bagong) | 3 | EW-052
53 | WORKSHOP | Workshop Boston | 1 | EW-053
54 | PIT STOP KGU | Pit Stop FMC-UT KGU-Utara | 1 | EW-054
55 | PIT STOP KGU | Pit Stop FMC-UT KGU-Utara | 2 | EW-055
56 | WORKSHOP | Workshop UT (BAY) | 1 | EW-056
57 | WORKSHOP | Workshop UT (BAY) | 2 | EW-057
58 | WORKSHOP | Workshop HAULING (BAY) GOH | 1 | EW-058
59 | WORKSHOP | Workshop HAULING (BAY) GOH | 2 | EW-059
60 | WORKSHOP | Workshop HAULING (BAY) GOH | 3 | EW-060
61 | WORKSHOP | Workshop TRACK (BAY) GOH | 4 | EW-061
62 | WORKSHOP | Workshop TRACK (BAY) GOH | 5 | EW-062
63 | WORKSHOP | Workshop COMEX Baru | 1 | EW-063
64 | WORKSHOP | Workshop COMEX Baru | 2 | EW-064
65 | PIT STOP KGU-S | Pit Stop KGU Selatan | 1 | EW-065
66 | WORKSHOP | Workshop Hauling Baru | 1 | EW-066
67 | WORKSHOP | Workshop Hauling Baru | 2 | EW-067
68 | WORKSHOP | Workshop Wheel Baru | 1 | EW-068
69 | WORKSHOP | Workshop Wheel Baru | 2 | EW-069
70 | WORKSHOP | Workshop Wheel Baru | 3 | EW-070
71 | MESS BARU | IPAL 03 | 1 | EW-071
72 | MESS BARU | WTP 02 | 1 | EW-072
73 | OUT PIT | KONTAINER OUT PIT 3C | 1 | EW-073
74 | WORKSHOP | Workshop Suport ( BAY 1) | 1 | EW-074
75 | WORKSHOP | Workshop Suport ( BAY 2) | 2 | EW-075
76 | WORKSHOP | Workshop Suport ( BAY 3) | 3 | EW-076
77 | WORKSHOP | Workshop Suport ( Office lantai1) | 4 | EW-077

## SMOKE DETECTOR
NO | AREA | LOKASI | NO. LAMBUNG | NO. REGISTER
1 | MAIN OFFICE | R.Security lobby | SD-01 | PPA-SHE-II-SD-2025-01
2 | MAIN OFFICE | R. Meeting 1 | SD-02 | PPA-SHE-II-SD-2025-02
3 | MAIN OFFICE | R.HCGA Staff 1 | SD-03 | PPA-SHE-II-SD-2025-03
4 | MAIN OFFICE | R.HCGA Section Head | SD-04 | PPA-SHE-II-SD-2025-04
5 | MAIN OFFICE | Lorong Office | SD-05 | PPA-SHE-II-SD-2025-05
6 | MAIN OFFICE | R.Admin HC 1 | SD-06 | PPA-SHE-II-SD-2025-06
7 | MAIN OFFICE | R.Admin HC 2 | SD-07 | PPA-SHE-II-SD-2025-07
8 | MAIN OFFICE | R. HCGA Staff 2 | SD-08 | PPA-SHE-II-SD-2025-08
9 | MAIN OFFICE | Lorong Office | SD-09 | PPA-SHE-II-SD-2025-09
10 | MAIN OFFICE | Gudang HC | SD-10 | PPA-SHE-II-SD-2025-10
11 | MAIN OFFICE | Lorong Office | SD-11 | PPA-SHE-II-SD-2025-11
12 | MAIN OFFICE | Lorong Office | SD-12 | PPA-SHE-II-SD-2025-12
13 | MAIN OFFICE | R. Server | SD-13 | PPA-SHE-II-SD-2025-13
14 | MAIN OFFICE | R. Labour supply 1 | SD-14 | PPA-SHE-II-SD-2025-14
15 | MAIN OFFICE | R. Labour supply 2 | SD-15 | PPA-SHE-II-SD-2025-15
16 | MAIN OFFICE | R. CCR | SD-16 | PPA-SHE-II-SD-2025-16
17 | MAIN OFFICE | Lorong Office | SD-17 | PPA-SHE-II-SD-2025-17
18 | MAIN OFFICE | R. Dewatering | SD-18 | PPA-SHE-II-SD-2025-18
19 | MAIN OFFICE | R. Mineroad | SD-19 | PPA-SHE-II-SD-2025-19
20 | MAIN OFFICE | R. CEO Section Head | SD-20 | PPA-SHE-II-SD-2025-20
21 | MAIN OFFICE | Lorong Office | SD-21 | PPA-SHE-II-SD-2025-21
22 | MAIN OFFICE | R. ENG Staff | SD-22 | PPA-SHE-II-SD-2025-22
23 | MAIN OFFICE | R. ENG Staff | SD-23 | PPA-SHE-II-SD-2025-23
24 | MAIN OFFICE | R. ENG Staff | SD-24 | PPA-SHE-II-SD-2025-24
25 | MAIN OFFICE | R. Dept head ENG | SD-25 | PPA-SHE-II-SD-2025-25
26 | MAIN OFFICE | R. Deputi | SD-26 | PPA-SHE-II-SD-2025-26
27 | MAIN OFFICE | Lorong Office | SD-27 | PPA-SHE-II-SD-2025-27
28 | MAIN OFFICE | Lorong Office | SD-28 | PPA-SHE-II-SD-2025-28
29 | MAIN OFFICE | HCGA Staff 3 | SD-29 | PPA-SHE-II-SD-2025-29
30 | MAIN OFFICE | R. Meeting Besar2 | SD-30 | PPA-SHE-II-SD-2025-30
31 | MAIN OFFICE | Lorong tengah/CCR | SD-31 | PPA-SHE-II-SD-2025-31
32 | MAIN OFFICE | R.Meeting Besar3 | SD-32 | PPA-SHE-II-SD-2025-32
33 | MESS BARU | GL 3 Lantai 1 | SD-01 | PPA-SHE-II-SD-2025-33
34 | MESS BARU | GL 3 Lantai 1 | SD-02 | PPA-SHE-II-SD-2025-34
35 | MESS BARU | GL 3 Lantai 1 | SD-03 | PPA-SHE-II-SD-2025-35
36 | MESS BARU | GL 3 Lantai 2 | SD-04 | PPA-SHE-II-SD-2025-36
37 | MESS BARU | GL 3 Lantai 2 | SD-05 | PPA-SHE-II-SD-2025-37
38 | MESS BARU | GL 3 Lantai 2 | SD-06 | PPA-SHE-II-SD-2025-38
39 | MESS BARU | GL 4 Lantai 1 | SD-01 | PPA-SHE-II-SD-2025-39
40 | MESS BARU | GL 4 Lantai 1 | SD-02 | PPA-SHE-II-SD-2025-40
41 | MESS BARU | GL 4 Lantai 1 | SD-03 | PPA-SHE-II-SD-2025-41
42 | MESS BARU | GL 4 Lantai 2 | SD-04 | PPA-SHE-II-SD-2025-42
43 | MESS BARU | GL 4 Lantai 2 | SD-05 | PPA-SHE-II-SD-2025-43
44 | MESS BARU | GL 4 Lantai 2 | SD-06 | PPA-SHE-II-SD-2025-44
45 | MESS BARU | GL 5 Lantai 1 | SD-01 | PPA-SHE-II-SD-2025-45
46 | MESS BARU | GL 5 Lantai 1 | SD-02 | PPA-SHE-II-SD-2025-46
47 | MESS BARU | GL 5 Lantai 1 | SD-03 | PPA-SHE-II-SD-2025-47
48 | MESS BARU | GL 5 Lantai 2 | SD-04 | PPA-SHE-II-SD-2025-48
49 | MESS BARU | GL 5 Lantai 2 | SD-05 | PPA-SHE-II-SD-2025-49
50 | MESS BARU | GL 5 Lantai 2 | SD-06 | PPA-SHE-II-SD-2025-50
51 | MESS BARU | GL 6 Lantai 1 | SD-01 | PPA-SHE-II-SD-2025-51
52 | MESS BARU | GL 6 Lantai 1 | SD-02 | PPA-SHE-II-SD-2025-52
53 | MESS BARU | GL 6 Lantai 1 | SD-03 | PPA-SHE-II-SD-2025-53
54 | MESS BARU | GL 6 Lantai 2 | SD-04 | PPA-SHE-II-SD-2025-54
55 | MESS BARU | GL 6 Lantai 2 | SD-05 | PPA-SHE-II-SD-2025-55
56 | MESS BARU | GL 6 Lantai 2 | SD-06 | PPA-SHE-II-SD-2025-56
57 | MESS BARU | GL 7 Lantai 1 | SD-01 | PPA-SHE-II-SD-2025-57
58 | MESS BARU | GL 7 Lantai 1 | SD-02 | PPA-SHE-II-SD-2025-58
59 | MESS BARU | GL 7 Lantai 1 | SD-03 | PPA-SHE-II-SD-2025-59
60 | MESS BARU | GL 7 Lantai 2 | SD-04 | PPA-SHE-II-SD-2025-60
61 | MESS BARU | GL 7 Lantai 2 | SD-05 | PPA-SHE-II-SD-2025-61
62 | MESS BARU | GL 7 Lantai 2 | SD-06 | PPA-SHE-II-SD-2025-62
63 | MESS BARU | GL 8 Lantai 1 | SD-01 | PPA-SHE-II-SD-2025-63
64 | MESS BARU | GL 8 Lantai 1 | SD-02 | PPA-SHE-II-SD-2025-64
65 | MESS BARU | GL 8 Lantai 1 | SD-03 | PPA-SHE-II-SD-2025-65
66 | MESS BARU | GL 8 Lantai 2 | SD-04 | PPA-SHE-II-SD-2025-66
67 | MESS BARU | GL 8 Lantai 2 | SD-05 | PPA-SHE-II-SD-2025-67
68 | MESS BARU | GL 8 Lantai 2 | SD-06 | PPA-SHE-II-SD-2025-68
69 | MESS BARU | GL 11 Lantai 1 | SD-01 | PPA-SHE-II-SD-2025-69
70 | MESS BARU | GL 11 Lantai 1 | SD-02 | PPA-SHE-II-SD-2025-70
71 | MESS BARU | GL 11 Lantai 1 | SD-03 | PPA-SHE-II-SD-2025-71
72 | MESS BARU | GL 11 Lantai 2 | SD-04 | PPA-SHE-II-SD-2025-72
73 | MESS BARU | GL 11 Lantai 2 | SD-05 | PPA-SHE-II-SD-2025-73
74 | MESS BARU | GL 11 Lantai 2 | SD-06 | PPA-SHE-II-SD-2025-74
75 | MESS BARU | GL 12 Lantai 1 | SD-01 | PPA-SHE-II-SD-2025-75
76 | MESS BARU | GL 12 Lantai 1 | SD-02 | PPA-SHE-II-SD-2025-76
77 | MESS BARU | GL 12 Lantai 1 | SD-03 | PPA-SHE-II-SD-2025-77
78 | MESS BARU | GL 12 Lantai 2 | SD-04 | PPA-SHE-II-SD-2025-78
79 | MESS BARU | GL 12 Lantai 2 | SD-05 | PPA-SHE-II-SD-2025-79
80 | MESS BARU | GL 12 Lantai 2 | SD-06 | PPA-SHE-II-SD-2025-80
81 | STATION ERT | LANTAI 1 (LOBBY) | SD-01 | PPA-SHE-II-SD-2025-81
82 | STATION ERT | LANTAI 1 (LOBBY) | SD-02 | PPA-SHE-II-SD-2025-82
83 | STATION ERT | LANTAI 1 (R.TRAINING) | SD-03 | PPA-SHE-II-SD-2025-83
84 | STATION ERT | LANTAI 1 (R.PERALATAN) | SD-04 | PPA-SHE-II-SD-2025-84
85 | STATION ERT | LANTAI 1 (R.PERALATAN) | SD-05 | PPA-SHE-II-SD-2025-85
86 | STATION ERT | LANTAI 2 (LOBBY) | SD-06 | PPA-SHE-II-SD-2025-86
87 | STATION ERT | LANTAI 2 (LOBBY) | SD-07 | PPA-SHE-II-SD-2025-87
88 | STATION ERT | LANTAI 2 (R.MEETING) | SD-08 | PPA-SHE-II-SD-2025-88
89 | STATION ERT | LANTAI 2 (R.CCR) | SD-09 | PPA-SHE-II-SD-2025-89
90 | STATION ERT | LANTAI 2 (MUSHOLLA) | SD-10 | PPA-SHE-II-SD-2025-90

## HYDRANT
NO | AREA | LOKASI | NO. LAMBUNG | NO. REGISTER
1 | GUDANG HANDAK | GUDANG HANDAK LAMA | HS.01 | HYDRANT.01
3 | FUEL STORAGE | FUEL STORAGE/MESS BARU | HS.02 | HYDRANT.02
4 | GUDANG HANDAK | EMULSION PLANT | HS.03 | HYDRANT.03

## APAR
NO | NAMA ALAT / INSTALASI | AREA | LOKASI | KAPASITAS | NO. LAMBUNG | NO.REGISTER
1 | APAR BANGUNAN | MAIN OFFICE | Main Office | 6 Kg | 1 | APR-001
2 | APAR BANGUNAN | MAIN OFFICE | Main Office | 6 Kg | 2 | APR-002
3 | APAR BANGUNAN | MAIN OFFICE | Main Office (Server IT) | 6 Kg | 3 | APR-003
4 | APAR BANGUNAN | MAIN OFFICE | Main Office | 6 Kg | 4 | APR-004
5 | APAR BANGUNAN | MAIN OFFICE | Main Office | 6 Kg | 5 | APR-005
6 | APAR BANGUNAN | MAIN OFFICE | Main Office | 6 Kg | 6 | APR-006
7 | APAR BANGUNAN | MAIN OFFICE | Main Office | 6 Kg | 7 | APR-007
8 | APAR BANGUNAN | MAIN OFFICE | Main Office | 6 Kg | 8 | APR-008
9 | APAR BANGUNAN | MAIN OFFICE | Main Office | 6 Kg | 9 | APR-009
10 | APAR BANGUNAN | MAIN OFFICE | Office SS6 (Depan) | 6 Kg | 1 | APR-010
11 | APAR BANGUNAN | MAIN OFFICE | Office SS6 (Belakang) | 6 Kg | 2 | APR-011
12 | APAR BANGUNAN | MAIN OFFICE | Office SHE | 6 Kg | 1 | APR-012
13 | APAR BANGUNAN | MAIN OFFICE | Office SHE | 6 Kg | 2 | APR-013
14 | APAR BANGUNAN | MAIN OFFICE | Office SHE | 6 Kg | 3 | APR-014
15 | APAR BANGUNAN | MAIN OFFICE | Klinik Office | 6 Kg | 4 | APR-015
16 | APAR BANGUNAN | MAIN OFFICE | Station ERT Lama | 6 Kg | 5 | APR-016
17 | APAR BANGUNAN | MAIN OFFICE | PPA Mart Main Office | 6 Kg | 1 | APR-017
18 | APAR BANGUNAN | MAIN OFFICE | Office Survey Engineering | 6 Kg | 1 | APR-018
19 | APAR BANGUNAN | MAIN OFFICE | Office Survey Engineering | 6 Kg | 2 | APR-019
20 | APAR BANGUNAN | MESS BARU | Aula Induksi | 6 Kg | 1 | APR-020
21 | APAR BANGUNAN | MESS BARU | Aula Induksi | 6 Kg | 2 | APR-021
22 | APAR BANGUNAN | MESS BARU | Mess A.1 | 6 Kg | 1 | APR-022
23 | APAR BANGUNAN | MESS BARU | Mess A.1 | 6 Kg | 2 | APR-023
24 | APAR BANGUNAN | MESS BARU | Mess A.1 | 6 Kg | 3 | APR-024
25 | APAR BANGUNAN | MESS BARU | Mess A.1 | 6 Kg | 4 | APR-025
26 | APAR BANGUNAN | MESS BARU | Mess A.1 | 6 Kg | 5 | APR-026
27 | APAR BANGUNAN | MESS BARU | Mess A.2 | 6 Kg | 1 | APR-027
28 | APAR BANGUNAN | MESS BARU | Mess A.2 | 6 Kg | 2 | APR-028
29 | APAR BANGUNAN | MESS BARU | Mess A.2 | 6 Kg | 3 | APR-029
30 | APAR BANGUNAN | MESS BARU | Mess A.2 | 6 Kg | 4 | APR-030
31 | APAR BANGUNAN | MESS BARU | Mess A.2 | 6 Kg | 5 | APR-031
32 | APAR BANGUNAN | MESS BARU | Mess A.3 | 6 Kg | 1 | APR-032
33 | APAR BANGUNAN | MESS BARU | Mess A.3 | 6 Kg | 2 | APR-033
34 | APAR BANGUNAN | MESS BARU | Mess A.3 | 6 Kg | 3 | APR-034
35 | APAR BANGUNAN | MESS BARU | Mess A.3 | 6 Kg | 4 | APR-035
36 | APAR BANGUNAN | MESS BARU | Mess A.3 | 6 Kg | 5 | APR-036
37 | APAR BANGUNAN | MESS BARU | Mess A.4 | 6 Kg | 1 | APR-037
38 | APAR BANGUNAN | MESS BARU | Mess A.4 | 6 Kg | 2 | APR-038
39 | APAR BANGUNAN | MESS BARU | Mess A.4 | 6 Kg | 3 | APR-039
40 | APAR BANGUNAN | MESS BARU | Mess A.4 | 6 Kg | 4 | APR-040
41 | APAR BANGUNAN | MESS BARU | Mess A.4 | 6 Kg | 5 | APR-041
42 | APAR BANGUNAN | MESS BARU | Mess A.5 | 6 Kg | 1 | APR-042
43 | APAR BANGUNAN | MESS BARU | Mess A.5 | 6 Kg | 2 | APR-043
44 | APAR BANGUNAN | MESS BARU | Mess A.5 | 6 Kg | 3 | APR-044
45 | APAR BANGUNAN | MESS BARU | Mess A.5 | 6 Kg | 4 | APR-045
46 | APAR BANGUNAN | MESS BARU | Mess A.5 | 6 Kg | 5 | APR-046
47 | APAR BANGUNAN | MESS BARU | Mess A.6 | 6 Kg | 1 | APR-047
48 | APAR BANGUNAN | MESS BARU | Mess A.6 | 6 Kg | 2 | APR-048
49 | APAR BANGUNAN | MESS BARU | Mess A.6 | 6 Kg | 3 | APR-049
50 | APAR BANGUNAN | MESS BARU | Mess A.6 | 6 Kg | 4 | APR-050
51 | APAR BANGUNAN | MESS BARU | Mess A.6 | 6 Kg | 5 | APR-051
52 | APAR BANGUNAN | MESS BARU | Mess A.7 | 6 Kg | 1 | APR-052
53 | APAR BANGUNAN | MESS BARU | Mess A.7 | 6 Kg | 2 | APR-053
54 | APAR BANGUNAN | MESS BARU | Mess A.7 | 6 Kg | 3 | APR-054
55 | APAR BANGUNAN | MESS BARU | Mess A.7 | 6 Kg | 4 | APR-055
56 | APAR BANGUNAN | MESS BARU | Mess A.7 | 6 Kg | 5 | APR-056
57 | APAR BANGUNAN | MESS BARU | Mess A.8 | 6 Kg | 1 | APR-057
58 | APAR BANGUNAN | MESS BARU | Mess A.8 | 6 Kg | 2 | APR-058
59 | APAR BANGUNAN | MESS BARU | Mess A.8 | 6 Kg | 3 | APR-059
60 | APAR BANGUNAN | MESS BARU | Mess A.8 | 6 Kg | 4 | APR-060
61 | APAR BANGUNAN | MESS BARU | Mess A.8 | 6 Kg | 5 | APR-061
62 | APAR BANGUNAN | MESS BARU | Mess A.9 | 6 Kg | 1 | APR-062
63 | APAR BANGUNAN | MESS BARU | Mess A.9 | 6 Kg | 2 | APR-063
64 | APAR BANGUNAN | MESS BARU | Mess A.9 | 6 Kg | 3 | APR-064
65 | APAR BANGUNAN | MESS BARU | Mess A.9 | 6 Kg | 4 | APR-065
66 | APAR BANGUNAN | MESS BARU | Mess A.9 | 6 Kg | 5 | APR-066
67 | APAR BANGUNAN | MESS BARU | Mess A.10 | 6 Kg | 1 | APR-067
68 | APAR BANGUNAN | MESS BARU | Mess A.10 | 6 Kg | 2 | APR-068
69 | APAR BANGUNAN | MESS BARU | Mess A.10 | 6 Kg | 3 | APR-069
70 | APAR BANGUNAN | MESS BARU | Mess A.10 | 6 Kg | 4 | APR-070
71 | APAR BANGUNAN | MESS BARU | Mess A.10 | 6 Kg | 5 | APR-071
72 | APAR BANGUNAN | MESS BARU | Mess B.1 | 6 Kg | 1 | APR-072
73 | APAR BANGUNAN | MESS BARU | Mess B.1 | 6 Kg | 2 | APR-073
74 | APAR BANGUNAN | MESS BARU | Mess B.1 | 6 Kg | 3 | APR-074
75 | APAR BANGUNAN | MESS BARU | Mess B.1 | 6 Kg | 4 | APR-075
76 | APAR BANGUNAN | MESS BARU | Mess B.1 | 6 Kg | 5 | APR-076
77 | APAR BANGUNAN | MESS BARU | Mess B.2 | 6 Kg | 1 | APR-077
78 | APAR BANGUNAN | MESS BARU | Mess B.2 | 6 Kg | 2 | APR-078
79 | APAR BANGUNAN | MESS BARU | Mess B.2 | 6 Kg | 3 | APR-079
80 | APAR BANGUNAN | MESS BARU | Mess B.2 | 6 Kg | 4 | APR-080
81 | APAR BANGUNAN | MESS BARU | Mess B.2 | 6 Kg | 5 | APR-081
82 | APAR BANGUNAN | MESS BARU | Mess B.3 | 6 Kg | 1 | APR-082
83 | APAR BANGUNAN | MESS BARU | Mess B.3 | 6 Kg | 2 | APR-083
84 | APAR BANGUNAN | MESS BARU | Mess B.3 | 6 Kg | 3 | APR-084
85 | APAR BANGUNAN | MESS BARU | Mess B.3 | 6 Kg | 4 | APR-085
86 | APAR BANGUNAN | MESS BARU | Mess B.3 | 6 Kg | 5 | APR-086
87 | APAR BANGUNAN | MESS BARU | Mess B.4 | 6 Kg | 1 | APR-087
88 | APAR BANGUNAN | MESS BARU | Mess B.4 | 6 Kg | 2 | APR-088
89 | APAR BANGUNAN | MESS BARU | Mess B.4 | 6 Kg | 3 | APR-089
90 | APAR BANGUNAN | MESS BARU | Mess B.4 | 6 Kg | 4 | APR-090
91 | APAR BANGUNAN | MESS BARU | Mess B.4 | 6 Kg | 5 | APR-091
92 | APAR BANGUNAN | MESS BARU | Mess B.5 | 6 Kg | 1 | APR-092
93 | APAR BANGUNAN | MESS BARU | Mess B.5 | 6 Kg | 2 | APR-093
94 | APAR BANGUNAN | MESS BARU | Mess B.5 | 6 Kg | 3 | APR-094
95 | APAR BANGUNAN | MESS BARU | Mess B.5 | 6 Kg | 4 | APR-095
96 | APAR BANGUNAN | MESS BARU | Mess B.5 | 6 Kg | 5 | APR-096
97 | APAR BANGUNAN | MESS BARU | Mess B.6 | 6 Kg | 1 | APR-097
98 | APAR BANGUNAN | MESS BARU | Mess B.6 | 6 Kg | 2 | APR-098
99 | APAR BANGUNAN | MESS BARU | Mess B.6 | 6 Kg | 3 | APR-099
100 | APAR BANGUNAN | MESS BARU | Mess B.6 | 6 Kg | 4 | APR-100
101 | APAR BANGUNAN | MESS BARU | Mess B.6 | 6 Kg | 5 | APR-101
102 | APAR BANGUNAN | MESS BARU | Mess B.7 | 6 Kg | 1 | APR-102
103 | APAR BANGUNAN | MESS BARU | Mess B.7 | 6 Kg | 2 | APR-103
104 | APAR BANGUNAN | MESS BARU | Mess B.7 | 6 Kg | 3 | APR-104
105 | APAR BANGUNAN | MESS BARU | Mess B.7 | 6 Kg | 4 | APR-105
106 | APAR BANGUNAN | MESS BARU | Mess B.7 | 6 Kg | 5 | APR-106
107 | APAR BANGUNAN | MESS BARU | Mess B.8 | 6 Kg | 1 | APR-107
108 | APAR BANGUNAN | MESS BARU | Mess B.8 | 6 Kg | 2 | APR-108
109 | APAR BANGUNAN | MESS BARU | Mess B.8 | 6 Kg | 3 | APR-109
110 | APAR BANGUNAN | MESS BARU | Mess B.8 | 6 Kg | 4 | APR-110
111 | APAR BANGUNAN | MESS BARU | Mess B.8 | 6 Kg | 5 | APR-111
112 | APAR BANGUNAN | MESS BARU | Mess B.9 | 6 Kg | 1 | APR-112
113 | APAR BANGUNAN | MESS BARU | Mess B.9 | 6 Kg | 2 | APR-113
114 | APAR BANGUNAN | MESS BARU | Mess B.9 | 6 Kg | 3 | APR-114
115 | APAR BANGUNAN | MESS BARU | Mess B.9 | 6 Kg | 4 | APR-115
116 | APAR BANGUNAN | MESS BARU | Mess B.9 | 6 Kg | 5 | APR-116
117 | APAR BANGUNAN | MESS BARU | Mess B.10 | 6 Kg | 1 | APR-117
118 | APAR BANGUNAN | MESS BARU | Mess B.10 | 6 Kg | 2 | APR-118
119 | APAR BANGUNAN | MESS BARU | Mess B.10 | 6 Kg | 3 | APR-119
120 | APAR BANGUNAN | MESS BARU | Mess B.10 | 6 Kg | 4 | APR-120
121 | APAR BANGUNAN | MESS BARU | Mess B.10 | 6 Kg | 5 | APR-121
122 | APAR BANGUNAN | MESS BARU | Mess C.1 | 6 Kg | 1 | APR-122
123 | APAR BANGUNAN | MESS BARU | Mess C.1 | 6 Kg | 2 | APR-123
124 | APAR BANGUNAN | MESS BARU | Mess C.1 | 6 Kg | 3 | APR-124
125 | APAR BANGUNAN | MESS BARU | Mess C.1 | 6 Kg | 4 | APR-125
126 | APAR BANGUNAN | MESS BARU | Mess C.1 | 6 Kg | 5 | APR-126
127 | APAR BANGUNAN | MESS BARU | Mess C.2 | 6 Kg | 1 | APR-127
128 | APAR BANGUNAN | MESS BARU | Mess C.2 | 6 Kg | 2 | APR-128
129 | APAR BANGUNAN | MESS BARU | Mess C.2 | 6 Kg | 3 | APR-129
130 | APAR BANGUNAN | MESS BARU | Mess C.2 | 6 Kg | 4 | APR-130
131 | APAR BANGUNAN | MESS BARU | Mess C.2 | 6 Kg | 5 | APR-131
132 | APAR BANGUNAN | MESS BARU | Mess C.3 | 6 Kg | 1 | APR-132
133 | APAR BANGUNAN | MESS BARU | Mess C.3 | 6 Kg | 2 | APR-133
134 | APAR BANGUNAN | MESS BARU | Mess C.3 | 6 Kg | 3 | APR-134
135 | APAR BANGUNAN | MESS BARU | Mess C.3 | 6 Kg | 4 | APR-135
136 | APAR BANGUNAN | MESS BARU | Mess C.3 | 6 Kg | 5 | APR-136
137 | APAR BANGUNAN | MESS BARU | Mess C.4 | 6 Kg | 1 | APR-137
138 | APAR BANGUNAN | MESS BARU | Mess C.4 | 6 Kg | 2 | APR-138
139 | APAR BANGUNAN | MESS BARU | Mess C.4 | 6 Kg | 3 | APR-139
140 | APAR BANGUNAN | MESS BARU | Mess C.4 | 6 Kg | 4 | APR-140
141 | APAR BANGUNAN | MESS BARU | Mess C.4 | 6 Kg | 5 | APR-141
142 | APAR BANGUNAN | MESS BARU | Mess C.5 | 6 Kg | 1 | APR-142
143 | APAR BANGUNAN | MESS BARU | Mess C.5 | 6 Kg | 2 | APR-143
144 | APAR BANGUNAN | MESS BARU | Mess C.5 | 6 Kg | 3 | APR-144
145 | APAR BANGUNAN | MESS BARU | Mess C.5 | 6 Kg | 4 | APR-145
146 | APAR BANGUNAN | MESS BARU | Mess C.5 | 6 Kg | 5 | APR-146
147 | APAR BANGUNAN | MESS BARU | Mess C.6 | 6 Kg | 1 | APR-147
148 | APAR BANGUNAN | MESS BARU | Mess C.6 | 6 Kg | 2 | APR-148
149 | APAR BANGUNAN | MESS BARU | Mess C.6 | 6 Kg | 3 | APR-149
150 | APAR BANGUNAN | MESS BARU | Mess C.6 | 6 Kg | 4 | APR-150
151 | APAR BANGUNAN | MESS BARU | Mess C.6 | 6 Kg | 5 | APR-151
152 | APAR BANGUNAN | MESS BARU | Mess C.7 | 6 Kg | 1 | APR-152
153 | APAR BANGUNAN | MESS BARU | Mess C.7 | 6 Kg | 2 | APR-153
154 | APAR BANGUNAN | MESS BARU | Mess C.7 | 6 Kg | 3 | APR-154
155 | APAR BANGUNAN | MESS BARU | Mess C.7 | 6 Kg | 4 | APR-155
156 | APAR BANGUNAN | MESS BARU | Mess C.7 | 6 Kg | 5 | APR-156
157 | APAR BANGUNAN | MESS BARU | Mess C.8 | 6 Kg | 1 | APR-157
158 | APAR BANGUNAN | MESS BARU | Mess C.8 | 6 Kg | 2 | APR-158
159 | APAR BANGUNAN | MESS BARU | Mess C.8 | 6 Kg | 3 | APR-159
160 | APAR BANGUNAN | MESS BARU | Mess C.8 | 6 Kg | 4 | APR-160
161 | APAR BANGUNAN | MESS BARU | Mess C.8 | 6 Kg | 5 | APR-161
162 | APAR BANGUNAN | MESS BARU | Mess C.9 | 6 Kg | 1 | APR-162
163 | APAR BANGUNAN | MESS BARU | Mess C.9 | 6 Kg | 2 | APR-163
164 | APAR BANGUNAN | MESS BARU | Mess C.9 | 6 Kg | 3 | APR-164
165 | APAR BANGUNAN | MESS BARU | Mess C.9 | 6 Kg | 4 | APR-165
166 | APAR BANGUNAN | MESS BARU | Mess C.9 | 6 Kg | 5 | APR-166
167 | APAR BANGUNAN | MESS BARU | Mess C.10 | 6 Kg | 1 | APR-167
168 | APAR BANGUNAN | MESS BARU | Mess C.10 | 6 Kg | 2 | APR-168
169 | APAR BANGUNAN | MESS BARU | Mess C.10 | 6 Kg | 3 | APR-169
170 | APAR BANGUNAN | MESS BARU | Mess C.10 | 6 Kg | 4 | APR-170
171 | APAR BANGUNAN | MESS BARU | Mess C.10 | 6 Kg | 5 | APR-171
172 | APAR BANGUNAN | MESS BARU | Mess D.1 | 6 Kg | 1 | APR-172
173 | APAR BANGUNAN | MESS BARU | Mess D.1 | 6 Kg | 2 | APR-173
174 | APAR BANGUNAN | MESS BARU | Mess D.1 | 6 Kg | 3 | APR-174
175 | APAR BANGUNAN | MESS BARU | Mess D.1 | 6 Kg | 4 | APR-175
176 | APAR BANGUNAN | MESS BARU | Mess D.1 | 6 Kg | 5 | APR-176
177 | APAR BANGUNAN | MESS BARU | Mess D.1 (Pantry) | 6 Kg | 6 | APR-177
178 | APAR BANGUNAN | MESS BARU | Mess D.2 | 6 Kg | 1 | APR-178
179 | APAR BANGUNAN | MESS BARU | Mess D.2 | 6 Kg | 2 | APR-179
180 | APAR BANGUNAN | MESS BARU | Mess D.2 | 6 Kg | 3 | APR-180
181 | APAR BANGUNAN | MESS BARU | Mess D.2 | 6 Kg | 4 | APR-181
182 | APAR BANGUNAN | MESS BARU | Mess D.2 | 6 Kg | 5 | APR-182
183 | APAR BANGUNAN | MESS BARU | Mess D.3 | 6 Kg | 1 | APR-183
184 | APAR BANGUNAN | MESS BARU | Mess D.3 | 6 Kg | 2 | APR-184
185 | APAR BANGUNAN | MESS BARU | Mess D.3 | 6 Kg | 3 | APR-185
186 | APAR BANGUNAN | MESS BARU | Mess D.3 | 6 Kg | 4 | APR-186
187 | APAR BANGUNAN | MESS BARU | Mess D.3 | 6 Kg | 5 | APR-187
188 | APAR BANGUNAN | MESS BARU | Mess D.4 | 6 Kg | 1 | APR-188
189 | APAR BANGUNAN | MESS BARU | Mess D.4 | 6 Kg | 2 | APR-189
190 | APAR BANGUNAN | MESS BARU | Mess D.4 | 6 Kg | 3 | APR-190
191 | APAR BANGUNAN | MESS BARU | Mess D.4 | 6 Kg | 4 | APR-191
192 | APAR BANGUNAN | MESS BARU | Mess D.4 | 6 Kg | 5 | APR-192
193 | APAR BANGUNAN | MESS BARU | Mess D.5 | 6 Kg | 1 | APR-193
194 | APAR BANGUNAN | MESS BARU | Mess D.5 | 6 Kg | 2 | APR-194
195 | APAR BANGUNAN | MESS BARU | Mess D.5 | 6 Kg | 3 | APR-195
196 | APAR BANGUNAN | MESS BARU | Mess D.5 | 6 Kg | 4 | APR-196
197 | APAR BANGUNAN | MESS BARU | Mess D.5 | 6 Kg | 5 | APR-197
198 | APAR BANGUNAN | MESS BARU | Mess D.6 | 6 Kg | 1 | APR-198
199 | APAR BANGUNAN | MESS BARU | Mess D.6 | 6 Kg | 2 | APR-199
200 | APAR BANGUNAN | MESS BARU | Mess D.6 | 6 Kg | 3 | APR-200
201 | APAR BANGUNAN | MESS BARU | Mess D.6 | 6 Kg | 4 | APR-201
202 | APAR BANGUNAN | MESS BARU | Mess D.6 | 6 Kg | 5 | APR-202
203 | APAR BANGUNAN | MESS BARU | Mess D.7 | 6 Kg | 1 | APR-203
204 | APAR BANGUNAN | MESS BARU | Mess D.7 | 6 Kg | 2 | APR-204
205 | APAR BANGUNAN | MESS BARU | Mess D.7 | 6 Kg | 3 | APR-205
206 | APAR BANGUNAN | MESS BARU | Mess D.7 | 6 Kg | 4 | APR-206
207 | APAR BANGUNAN | MESS BARU | Mess D.7 | 6 Kg | 5 | APR-207
208 | APAR BANGUNAN | MESS BARU | Mess D.8 | 6 Kg | 1 | APR-208
209 | APAR BANGUNAN | MESS BARU | Mess D.8 | 6 Kg | 2 | APR-209
210 | APAR BANGUNAN | MESS BARU | Mess D.8 | 6 Kg | 3 | APR-210
211 | APAR BANGUNAN | MESS BARU | Mess D.8 | 6 Kg | 4 | APR-211
212 | APAR BANGUNAN | MESS BARU | Mess D.8 | 6 Kg | 5 | APR-212
213 | APAR BANGUNAN | MESS BARU | Mess D.8 (Pantry) | 6 Kg | 6 | APR-213
214 | APAR BANGUNAN | MESS BARU | Mess D.9 | 6 Kg | 1 | APR-214
215 | APAR BANGUNAN | MESS BARU | Mess D.9 | 6 Kg | 2 | APR-215
216 | APAR BANGUNAN | MESS BARU | Mess D.9 | 6 Kg | 3 | APR-216
217 | APAR BANGUNAN | MESS BARU | Mess D.9 | 6 Kg | 4 | APR-217
218 | APAR BANGUNAN | MESS BARU | Mess D.9 | 6 Kg | 5 | APR-218
219 | APAR BANGUNAN | MESS BARU | Mess D.10 | 6 Kg | 1 | APR-219
220 | APAR BANGUNAN | MESS BARU | Mess D.10 | 6 Kg | 2 | APR-220
221 | APAR BANGUNAN | MESS BARU | Mess D.10 | 6 Kg | 3 | APR-221
222 | APAR BANGUNAN | MESS BARU | Mess D.10 | 6 Kg | 4 | APR-222
223 | APAR BANGUNAN | MESS BARU | Mess D.10 | 6 Kg | 5 | APR-223
224 | APAR BANGUNAN | MESS BARU | Mess E1 | 6 Kg | 1 | APR-224
225 | APAR BANGUNAN | MESS BARU | mess E1 | 6 Kg | 2 | APR-225
226 | APAR BANGUNAN | MESS BARU | Mess E1 | 6 Kg | 3 | APR-226
227 | APAR BANGUNAN | MESS BARU | Mess E1 | 6 Kg | 4 | APR-227
228 | APAR BANGUNAN | MESS BARU | Mess E1 | 6 Kg | 5 | APR-228
229 | APAR BANGUNAN | MESS BARU | Mess E2 | 6 Kg | 1 | APR-229
230 | APAR BANGUNAN | MESS BARU | Mess E2 | 6 Kg | 2 | APR-230
231 | APAR BANGUNAN | MESS BARU | Mess E2 | 6 Kg | 3 | APR-231
232 | APAR BANGUNAN | MESS BARU | Mess E2 | 6 Kg | 4 | APR-232
233 | APAR BANGUNAN | MESS BARU | Mess E2 | 6 Kg | 5 | APR-233
234 | APAR BANGUNAN | MESS BARU | Mess GL 1 | 6 Kg | 1 | APR-234
235 | APAR BANGUNAN | MESS BARU | Mess GL 1 | 6 Kg | 2 | APR-235
236 | APAR BANGUNAN | MESS BARU | Mess GL 1 | 6 Kg | 3 | APR-236
237 | APAR BANGUNAN | MESS BARU | Mess GL 1 | 6 Kg | 4 | APR-237
238 | APAR BANGUNAN | MESS BARU | Mess GL 1 | 6 Kg | 5 | APR-238
239 | APAR BANGUNAN | MESS BARU | Mess GL 2 | 6 Kg | 1 | APR-239
240 | APAR BANGUNAN | MESS BARU | Mess GL 2 | 6 Kg | 2 | APR-240
241 | APAR BANGUNAN | MESS BARU | Mess GL 2 | 6 Kg | 3 | APR-241
242 | APAR BANGUNAN | MESS BARU | Mess GL 2 | 6 Kg | 4 | APR-242
243 | APAR BANGUNAN | MESS BARU | Mess GL 2 | 6 Kg | 5 | APR-243
244 | APAR BANGUNAN | MESS BARU | Mess GL 3 | 6 Kg | 1 | APR-244
245 | APAR BANGUNAN | MESS BARU | Mess GL 3 | 6 Kg | 2 | APR-245
246 | APAR BANGUNAN | MESS BARU | Mess GL 3 | 6 Kg | 3 | APR-246
247 | APAR BANGUNAN | MESS BARU | Mess GL 3 | 6 Kg | 4 | APR-247
248 | APAR BANGUNAN | MESS BARU | Mess GL 3 | 6 Kg | 5 | APR-248
249 | APAR BANGUNAN | MESS BARU | Mess GL 4 | 6 Kg | 1 | APR-249
250 | APAR BANGUNAN | MESS BARU | Mess GL 4 | 6 Kg | 2 | APR-250
251 | APAR BANGUNAN | MESS BARU | Mess GL 4 | 6 Kg | 3 | APR-251
252 | APAR BANGUNAN | MESS BARU | Mess GL 4 | 6 Kg | 4 | APR-252
253 | APAR BANGUNAN | MESS BARU | Mess GL 4 | 6 Kg | 5 | APR-253
254 | APAR BANGUNAN | MESS BARU | Mess GL 4 (Pantry) | 6 Kg | 6 | APR-254
255 | APAR BANGUNAN | MESS BARU | Mess GL 5 | 6 Kg | 1 | APR-255
256 | APAR BANGUNAN | MESS BARU | Mess GL 5 | 6 Kg | 2 | APR-256
257 | APAR BANGUNAN | MESS BARU | Mess GL 5 | 6 Kg | 3 | APR-257
258 | APAR BANGUNAN | MESS BARU | Mess GL 5 | 6 Kg | 4 | APR-258
259 | APAR BANGUNAN | MESS BARU | Mess GL 5 | 6 Kg | 5 | APR-259
260 | APAR BANGUNAN | MESS BARU | Mess GL 6 | 6 Kg | 1 | APR-260
261 | APAR BANGUNAN | MESS BARU | Mess GL 6 | 6 Kg | 2 | APR-261
262 | APAR BANGUNAN | MESS BARU | Mess GL 6 | 6 Kg | 3 | APR-262
263 | APAR BANGUNAN | MESS BARU | Mess GL 6 | 6 Kg | 4 | APR-263
264 | APAR BANGUNAN | MESS BARU | Mess GL 6 | 6 Kg | 5 | APR-264
265 | APAR BANGUNAN | MESS BARU | Mess GL 6 | 6 Kg | 6 | APR-265
266 | APAR BANGUNAN | MESS BARU | Mess GL 7 | 6 Kg | 1 | APR-266
267 | APAR BANGUNAN | MESS BARU | Mess GL 7 | 6 Kg | 2 | APR-267
268 | APAR BANGUNAN | MESS BARU | Mess GL 7 | 6 Kg | 3 | APR-268
269 | APAR BANGUNAN | MESS BARU | Mess GL 7 | 6 Kg | 4 | APR-269
270 | APAR BANGUNAN | MESS BARU | Mess GL 7 | 6 Kg | 5 | APR-270
271 | APAR BANGUNAN | MESS BARU | Mess GL 7 | 6 Kg | 6 | APR-271
272 | APAR BANGUNAN | MESS BARU | Mess GL 8 | 6 Kg | 1 | APR-272
273 | APAR BANGUNAN | MESS BARU | Mess GL 8 | 6 Kg | 2 | APR-273
274 | APAR BANGUNAN | MESS BARU | Mess GL 8 | 6 Kg | 3 | APR-274
275 | APAR BANGUNAN | MESS BARU | Mess GL 8 | 6 Kg | 4 | APR-275
276 | APAR BANGUNAN | MESS BARU | Mess GL 8 | 6 Kg | 5 | APR-276
277 | APAR BANGUNAN | MESS BARU | Mess GL 9 | 6 Kg | 1 | APR-277
278 | APAR BANGUNAN | MESS BARU | Mess GL 9 | 6 Kg | 2 | APR-278
279 | APAR BANGUNAN | MESS BARU | Mess GL 9 | 6 Kg | 3 | APR-279
280 | APAR BANGUNAN | MESS BARU | Mess GL 9 | 6 Kg | 4 | APR-280
281 | APAR BANGUNAN | MESS BARU | Mess GL 9 | 6 Kg | 5 | APR-281
282 | APAR BANGUNAN | MESS BARU | Mess GL 10 | 6 Kg | 1 | APR-282
283 | APAR BANGUNAN | MESS BARU | Mess GL 10 | 6 Kg | 2 | APR-283
284 | APAR BANGUNAN | MESS BARU | Mess GL 10 | 6 Kg | 3 | APR-284
285 | APAR BANGUNAN | MESS BARU | Mess GL 10 | 6 Kg | 4 | APR-285
286 | APAR BANGUNAN | MESS BARU | Mess GL 10 | 6 Kg | 5 | APR-286
287 | APAR BANGUNAN | MESS BARU | Mess GL 11 | 3 Kg | 1 | APR-287
288 | APAR BANGUNAN | MESS BARU | Mess GL 11 | 6 Kg | 2 | APR-288
289 | APAR BANGUNAN | MESS BARU | Mess GL 11 | 6 Kg | 3 | APR-289
290 | APAR BANGUNAN | MESS BARU | Mess GL 11 | 6 Kg | 4 | APR-290
291 | APAR BANGUNAN | MESS BARU | Mess GL 11 | 6 Kg | 5 | APR-291
292 | APAR BANGUNAN | MESS BARU | Mess GL 12 | 3 Kg | 1 | APR-292
293 | APAR BANGUNAN | MESS BARU | Mess GL 12 | 6 Kg | 2 | APR-293
294 | APAR BANGUNAN | MESS BARU | Mess GL 12 | 6 Kg | 3 | APR-294
295 | APAR BANGUNAN | MESS BARU | Mess GL 12 | 6 Kg | 4 | APR-295
296 | APAR BANGUNAN | MESS BARU | Mess GL 12 | 6 Kg | 5 | APR-296
297 | APAR BANGUNAN | MESS BARU | Mess Mandala 01 | 6 Kg | 1 | APR-297
298 | APAR BANGUNAN | MESS BARU | Mess Mandala 01 | 6 Kg | 2 | APR-298
299 | APAR BANGUNAN | MESS BARU | Mess Mandala 01 | 6 Kg | 3 | APR-299
300 | APAR BANGUNAN | MESS BARU | Mess Mandala 01 | 6 Kg | 4 | APR-300
301 | APAR BANGUNAN | MESS BARU | Mess Mandala 01 | 6 Kg | 5 | APR-301
302 | APAR BANGUNAN | MESS BARU | Mess Mandala 02 | 6 Kg | 1 | APR-302
303 | APAR BANGUNAN | MESS BARU | Mess Mandala 02 | 6 Kg | 2 | APR-303
304 | APAR BANGUNAN | MESS BARU | Mess Mandala 02 | 6 Kg | 3 | APR-304
305 | APAR BANGUNAN | MESS BARU | Mess Mandala 02 | 6 Kg | 4 | APR-305
306 | APAR BANGUNAN | MESS BARU | Mess Mandala 02 | 6 Kg | 5 | APR-306
307 | APAR BANGUNAN | MESS BARU | Mess SS (Senior Staff) | 6 Kg | 1 | APR-307
308 | APAR BANGUNAN | MESS BARU | Mess SS (Senior Staff) | 6 Kg | 2 | APR-308
309 | APAR BANGUNAN | MESS BARU | Mess SS (Senior Staff) | 6 Kg | 3 | APR-309
310 | APAR BANGUNAN | MESS BARU | Mess SS (Senior Staff) | 6 Kg | 4 | APR-310
311 | APAR BANGUNAN | MESS BARU | Mess SS (Senior Staff) | 6 Kg | 5 | APR-311
312 | APAR BANGUNAN | MESS BARU | Mess Anggrek A (Wanita) | 6 Kg | 1 | APR-312
313 | APAR BANGUNAN | MESS BARU | Mess Anggrek A (Wanita) | 6 Kg | 2 | APR-313
314 | APAR BANGUNAN | MESS BARU | Mess Anggrek A (Wanita) | 6 Kg | 3 | APR-314
315 | APAR BANGUNAN | MESS BARU | Mess Anggrek A (Wanita) | 6 Kg | 4 | APR-315
316 | APAR BANGUNAN | MESS BARU | Mess Anggrek A (Wanita) | 6 Kg | 5 | APR-316
317 | APAR BANGUNAN | MESS BARU | Mess Anggrek B (Wanita) | 6 Kg | 1 | APR-317
318 | APAR BANGUNAN | MESS BARU | Mess Anggrek B (Wanita) | 6 Kg | 2 | APR-318
319 | APAR BANGUNAN | MESS BARU | Mess Anggrek B (Wanita) | 6 Kg | 3 | APR-319
320 | APAR BANGUNAN | MESS BARU | Mess Anggrek B (Wanita) | 6 Kg | 4 | APR-320
321 | APAR BANGUNAN | MESS BARU | Mess Anggrek B (Wanita) | 6 Kg | 5 | APR-321
322 | APAR BANGUNAN | MESS BARU | Mess Anggrek B (Wanita) | 6 Kg | 6 | APR-322
323 | APAR BANGUNAN | MESS BARU | Mess Tamu | 6 Kg | 1 | APR-323
324 | APAR BANGUNAN | MESS BARU | Mess Tamu | 6 Kg | 2 | APR-324
325 | APAR BANGUNAN | MESS BARU | Mess Tamu | 6 Kg | 3 | APR-325
326 | APAR BANGUNAN | MESS BARU | Mess Catering A | 6 Kg | 1 | APR-326
327 | APAR BANGUNAN | MESS BARU | Mess Catering A | 6 Kg | 2 | APR-327
328 | APAR BANGUNAN | MESS BARU | Mess Catering A | 6 Kg | 3 | APR-328
329 | APAR BANGUNAN | MESS BARU | Mess Catering A | 6 Kg | 4 | APR-329
330 | APAR BANGUNAN | MESS BARU | Mess Catering A | 6 Kg | 5 | APR-330
331 | APAR BANGUNAN | MESS BARU | Mess Catering B | 6 Kg | 1 | APR-331
332 | APAR BANGUNAN | MESS BARU | Mess Catering B | 6 Kg | 2 | APR-332
333 | APAR BANGUNAN | MESS BARU | Mess Catering B | 6 Kg | 3 | APR-333
334 | APAR BANGUNAN | MESS BARU | Mess Catering B | 6 Kg | 4 | APR-334
335 | APAR BANGUNAN | MESS BARU | Mess Catering B | 6 Kg | 5 | APR-335
336 | APAR BANGUNAN | MESS BARU | Mess Catering C | 6 Kg | 1 | APR-336
337 | APAR BANGUNAN | MESS BARU | Mess Catering C | 6 Kg | 2 | APR-337
338 | APAR BANGUNAN | MESS BARU | Mess Catering C | 6 Kg | 3 | APR-338
339 | APAR BANGUNAN | MESS BARU | Mess Catering C | 6 Kg | 4 | APR-339
340 | APAR BANGUNAN | MESS BARU | Mess Catering C | 6 Kg | 5 | APR-340
341 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Dapur KPS) | 6 Kg | 1 | APR-341
342 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Dapur KPS) | 6 Kg | 2 | APR-342
343 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Lobby) | 6 Kg | 3 | APR-343
344 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Depan Kasir) | 6 Kg | 4 | APR-344
345 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Dapur DSJ) | 6 Kg | 5 | APR-345
346 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Dapur Patria) | 6 Kg | 6 | APR-346
347 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Lobby) | 6 Kg | 7 | APR-347
348 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Lobby) | 6 Kg | 8 | APR-348
349 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Lobby) | 6 Kg | 9 | APR-349
350 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Lantai 2) | 6 Kg | 10 | APR-350
351 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Lantai 2) | 6 Kg | 11 | APR-351
352 | APAR BANGUNAN | MESS BARU | Foodcourt Mess Baru (Lobby) | 6 Kg | 12 | APR-352
353 | APAR BANGUNAN | MESS BARU | Gudang Loundry (Depan) | 6 Kg | 1 | APR-353
354 | APAR BANGUNAN | MESS BARU | Gudang Loundry (Belakang) | 6 Kg | 2 | APR-354
355 | APAR BANGUNAN | MESS BARU | Rumah Laundry 1 | 6 Kg | 1 | APR-355
356 | APAR BANGUNAN | MESS BARU | Rumah Laundry 2 | 6 Kg | 1 | APR-356
357 | APAR BANGUNAN | MESS BARU | Rumah Laundry 3 | 6 Kg | 1 | APR-357
358 | APAR BANGUNAN | MESS BARU | Rumah Laundry 4 | 6 Kg | 1 | APR-358
359 | APAR BANGUNAN | MESS BARU | Rumah Laundry 4 | 6 Kg | 2 | APR-359
360 | APAR BANGUNAN | MESS BARU | Rumah Laundry 5 | 6 Kg | 1 | APR-360
361 | APAR BANGUNAN | MESS BARU | Rumah Laundry 5 | 6 Kg | 2 | APR-361
362 | APAR BANGUNAN | MESS BARU | Rumah Laundry 6 | 3 Kg | 1 | APR-362
363 | APAR BANGUNAN | MESS BARU | Rumah Laundry 6 | 3 Kg | 2 | APR-363
364 | APAR BANGUNAN | MESS BARU | Rumah Laundry 7 | 6 Kg | 1 | APR-364
365 | APAR BANGUNAN | MESS BARU | Rumah Laundry 7 | 6 Kg | 2 | APR-365
366 | APAR BANGUNAN | MESS BARU | Office GA | 6 Kg | 1 | APR-366
367 | APAR BANGUNAN | MESS BARU | Office GA | 6 Kg | 2 | APR-367
368 | APAR BANGUNAN | MESS BARU | Office GA (IT) | 6 Kg | 3 | APR-368
369 | APAR BANGUNAN | MESS BARU | Office GA (Electric) | 6 Kg | 4 | APR-369
370 | APAR BANGUNAN | MESS BARU | Office GA (Carpenter) | 6 Kg | 5 | APR-370
371 | APAR BANGUNAN | AKAPI | AKAPI Office PPA Academy (Depan) | 6 Kg | 1 | APR-371
372 | APAR BANGUNAN | AKAPI | AKAPI Office PPA Academy (Dalam) | 6 Kg | 2 | APR-372
373 | APAR BANGUNAN | AKAPI | AKAPI Office PPA Academy (Dalam) | 6 Kg | 3 | APR-373
374 | APAR BANGUNAN | AKAPI | AKAPI Aula PPA Academy (Depan) | 6 Kg | 4 | APR-374
375 | APAR BANGUNAN | AKAPI | AKAPI Aula PPA Academy (Dalam) | 6 Kg | 5 | APR-375
376 | APAR BANGUNAN | AKAPI | AKAPI Lorong Kelas PPA Academy | 6 Kg | 6 | APR-376
377 | APAR BANGUNAN | AKAPI | AKAPI Lorong Kelas PPA Academy | 6 Kg | 7 | APR-377
378 | APAR BANGUNAN | AKAPI | AKAPI Ruang Simolator (Depan) | 6 Kg | 1 | APR-378
379 | APAR BANGUNAN | AKAPI | AKAPI Ruang Simolator (Dalam) | 6 Kg | 2 | APR-379
380 | APAR BANGUNAN | AKAPI | AKAPI Ruang Simolator (Dalam) | 6 Kg | 3 | APR-380
381 | APAR BANGUNAN | AKAPI | AKAPI Ruang Simulator HD | 2 Kg | 4 | APR-381
382 | APAR BANGUNAN | AKAPI | AKAPI Ruang Simulator HD | 2 Kg | 5 | APR-382
383 | APAR BANGUNAN | AKAPI | AKAPI Ruang Simulator PC | 2 Kg | 6 | APR-383
384 | APAR BANGUNAN | AKAPI | AKAPI Ruang Simulator PC | 2 Kg | 7 | APR-384
385 | APAR BANGUNAN | AKAPI | AKAPI Workshop T.I | 6 Kg | 8 | APR-385
386 | APAR BANGUNAN | AKAPI | Mess AKAPI | 6 Kg | 1 | APR-386
387 | APAR BANGUNAN | AKAPI | Mess AKAPI | 6 Kg | 2 | APR-387
388 | APAR BANGUNAN | AKAPI | Mess AKAPI | 6 Kg | 3 | APR-388
389 | APAR BANGUNAN | AKAPI | Mess AKAPI | 6 Kg | 4 | APR-389
390 | APAR BANGUNAN | AKAPI | Mess AKAPI | 6 Kg | 5 | APR-390
391 | APAR BANGUNAN | AKAPI | Mess AKAPI | 6 Kg | 6 | APR-391
392 | APAR BANGUNAN | AKAPI | Mess AKAPI | 6 Kg | 7 | APR-392
393 | APAR BANGUNAN | AKAPI | Mess AKAPI | 6 Kg | 8 | APR-393
394 | APAR BANGUNAN | MESS BARU | WTP 01 | 6 Kg | 1 | APR-394
395 | APAR BANGUNAN | MESS BARU | WTP 01 | 6 Kg | 2 | APR-395
396 | APAR BANGUNAN | MESS BARU | WTP 01 | 6 Kg | 3 | APR-396
397 | APAR BANGUNAN | MESS BARU | WTP 01 | 6 Kg | 4 | APR-397
398 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 1) | 6 Kg | 1 | APR-398
399 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 1) | 6 Kg | 2 | APR-399
400 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 1) | 6 Kg | 3 | APR-400
401 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 1) | 6 Kg | 4 | APR-401
402 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 1) | 6 Kg | 5 | APR-402
403 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 1) | 6 Kg | 6 | APR-403
404 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 1/Di luar) | 25 Kg | 7 | APR-404
405 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 2) | 6 Kg | 8 | APR-405
406 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 2) | 6 Kg | 9 | APR-406
407 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 2) | 3 Kg | 10 | APR-407
408 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 2) | 3 Kg | 11 | APR-408
409 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 2) | 3 Kg | 12 | APR-409
410 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Lantai 2) | 3 Kg | 13 | APR-410
411 | APAR BANGUNAN | WAREHOUSE | Warehouse Open Storage | 9 Kg | 14 | APR-411
412 | APAR BANGUNAN | WAREHOUSE | Warehouse Open Storage | 6 Kg | 15 | APR-412
413 | APAR BANGUNAN | WAREHOUSE | Warehouse Open Storage | 6 Kg | 16 | APR-413
414 | APAR BANGUNAN | WAREHOUSE | Warehouse Open Storage | 6 Kg | 17 | APR-414
415 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area in) | 6 Kg | 1 | APR-415
416 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area in) | 6 Kg | 2 | APR-416
417 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area in) | 6 Kg | 3 | APR-417
418 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area in) | 6 Kg | 4 | APR-418
419 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area in) | 6 Kg | 5 | APR-419
420 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Room Engine Hydrant) | 6 Kg | 6 | APR-420
421 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area in) | 68 Kg | 7 | APR-421
422 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area in) | 68 Kg | 8 | APR-422
423 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area Out) | 68 Kg | 9 | APR-423
424 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area Out) | 68 Kg | 10 | APR-424
425 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage ( Area In ) | 68 Kg | 11 | APR-425
426 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area In) | 68 Kg | 12 | APR-426
427 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area In) | 7 Kg | 13 | APR-427
428 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area Out) | 6 Kg | 14 | APR-428
429 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area Out) | 6 Kg | 15 | APR-429
430 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area Out) | 6 Kg | 16 | APR-430
431 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Area Out) | 6 Kg | 17 | APR-431
432 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage ( OFFICE ) | 6 Kg | 18 | APR-432
433 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage ( OFFICE ) | 6 Kg | 19 | APR-433
434 | APAR BANGUNAN | FUEL STORAGE | Fuel Storage (Pos security) | 3 Kg | 20 | APR-434
435 | APAR BANGUNAN | MESS BARU | Genset Mess Baru | 6 Kg | 1 | APR-435
436 | APAR BANGUNAN | MESS BARU | Genset Mess Baru | 6 Kg | 2 | APR-436
437 | APAR BANGUNAN | MESS BARU | Genset Mess Baru | 6 Kg | 3 | APR-437
438 | APAR BANGUNAN | MESS BARU | Genset Mess Baru | 6 Kg | 4 | APR-438
439 | APAR BANGUNAN | WORKSHOP | Office Plant (Lantai 1) | 6 Kg | 1 | APR-439
440 | APAR BANGUNAN | WORKSHOP | Office Plant (Lantai 1) | 6 Kg | 2 | APR-440
441 | APAR BANGUNAN | WORKSHOP | Office Plant (Lantai 1) | 6 Kg | 3 | APR-441
442 | APAR BANGUNAN | WORKSHOP | Office Plant (Lantai 1) | 6 Kg | 4 | APR-442
443 | APAR BANGUNAN | WORKSHOP | Office Plant (Lantai 1) | 6 Kg | 5 | APR-443
444 | APAR BANGUNAN | WORKSHOP | Office Plant (Lantai 2) | 6 Kg | 6 | APR-444
445 | APAR BANGUNAN | WORKSHOP | Office Plant (Lantai 2) | 6 Kg | 7 | APR-445
446 | APAR BANGUNAN | WORKSHOP | PLANT (PPA Mart Koperasi) | 6 Kg | 1 | APR-446
447 | APAR BANGUNAN | WORKSHOP | PLANT (Oli Trap) | 6 Kg | 1 | APR-447
448 | APAR BANGUNAN | WORKSHOP | PLANT (Oli Trap) | 6 Kg | 2 | APR-448
449 | APAR BANGUNAN | WORKSHOP | PLANT (Workshop BAY/WS Utama) | 6 Kg | 1 | APR-449
450 | APAR BANGUNAN | WORKSHOP | PLANT (Workshop BAY/WS Utama) | 6 Kg | 2 | APR-450
451 | APAR BANGUNAN | WORKSHOP | PLANT (Workshop BAY/WS Utama) | 9 Kg | 3 | APR-451
452 | APAR BANGUNAN | WORKSHOP | PLANT (Workshop BAY/WS Utama) | 6 Kg | 4 | APR-452
453 | APAR BANGUNAN | WORKSHOP | PLANT (Workshop BAY/WS Utama) | 6 Kg | 5 | APR-453
454 | APAR BANGUNAN | WORKSHOP | PLANT (Limbah B3) | 6 Kg | 1 | APR-454
455 | APAR BANGUNAN | WORKSHOP | PLANT (Limbah B3) | 6 Kg | 2 | APR-455
456 | APAR BANGUNAN | WORKSHOP | PLANT (Limbah B3) | 6 Kg | 3 | APR-456
457 | APAR BANGUNAN | WORKSHOP | PLANT (Washpad) | 3 Kg | 1 | APR-457
458 | APAR BANGUNAN | WORKSHOP | PLANT (Washpad) | 6 Kg | 2 | APR-458
459 | APAR BANGUNAN | WORKSHOP | PLANT (Gudang Oli) | 6 Kg | 1 | APR-459
460 | APAR BANGUNAN | WORKSHOP | PLANT (Gudang Oli) | 6 Kg | 2 | APR-460
461 | APAR BANGUNAN | WORKSHOP | PLANT (Gudang Oli) | 6 Kg | 3 | APR-461
462 | APAR BANGUNAN | WORKSHOP | PLANT (Workshop Comex) | 6 Kg | 1 | APR-462
463 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Lantai 2) | 6 Kg | 1 | APR-463
464 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Lantai 1) | 6 Kg | 2 | APR-464
465 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Bay) | 9 Kg | 3 | APR-465
466 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Bay) | 9 Kg | 4 | APR-466
467 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Bay) | 6 Kg | 5 | APR-467
468 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Bay) | 9 Kg | 6 | APR-468
469 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Bay) | 68 Kg | 7 | APR-469
470 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Bay) | 6 Kg | 8 | APR-470
471 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Bay) | 9 Kg | 9 | APR-471
472 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (Lantai 2) | 6 Kg | 10 | APR-472
473 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (CV.SRJ) | 6 Kg | 1 | APR-473
474 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Fabrikasi (CV.SRJ) | 6 Kg | 2 | APR-474
475 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Tyre (BAY) | 6 Kg | 1 | APR-475
476 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Tyre (BAY) | 6 Kg | 2 | APR-476
477 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Tyre (BAY) | 6 Kg | 3 | APR-477
478 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Tyre (Repair Tyre) | 6 Kg | 4 | APR-478
479 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Tyre (Lantai 2) | 6 Kg | 5 | APR-479
480 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Tyre (Rest Area) | 9 Kg | 6 | APR-480
481 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Tyre (PT.BJS) | 6 Kg | 1 | APR-481
482 | APAR BANGUNAN | WORKSHOP | PLANT Workshop Tyre (PT.BJS) | 6 Kg | 2 | APR-482
483 | APAR BANGUNAN | PIT KGU | Viewpoint KGU | 6 Kg | 1 | APR-483
484 | APAR BANGUNAN | PIT KGU | Viewpoint KGU | 6 Kg | 2 | APR-484
485 | APAR BANGUNAN | PIT KGU | Viewpoint KGU | 6 Kg | 3 | APR-485
486 | APAR BANGUNAN | PIT KGU | Viewpoint KGU (Kontainer BIB) | 6 Kg | 4 | APR-486
487 | APAR BANGUNAN | PIT KGU | Viewpoint KGU (Pit Control) | 6 Kg | 5 | APR-487
488 | APAR BANGUNAN | PIT KGU | Viewpoint KGU (Kontainer SHE) | 6 Kg | 6 | APR-488
489 | APAR BANGUNAN | PIT KGU | Viewpoint KGU (Kontainer SHE) | 6 Kg | 7 | APR-489
490 | APAR BANGUNAN | PIT KGU | Viewpoint KGU (Genset) | 6 Kg | 8 | APR-490
491 | APAR BANGUNAN | PIT KGU | Viewpoint KGU (Genset) | 3 Kg | 9 | APR-491
492 | APAR BANGUNAN | PIT KGU | View Point KGU (Station ERT) | 6 Kg | 10 | APR-492
493 | APAR BANGUNAN | PIT KGU | Manpower KGU | 6 Kg | 1 | APR-493
494 | APAR BANGUNAN | PIT KGU | Manpower KGU | 6 Kg | 2 | APR-494
495 | APAR BANGUNAN | PIT KGU | Manpower KGU | 6 Kg | 3 | APR-495
496 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Gudang Amonium | 6 Kg | 1 | APR-496
497 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Gudang Amonium | 6 Kg | 2 | APR-497
498 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Gudang Dynamite | 6 Kg | 3 | APR-498
499 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Gudang Detonator | 6 Kg | 4 | APR-499
500 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Area parkiran unit Blasting | 6 Kg | 5 | APR-500
501 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Ruang Genset (Luar) | 6 Kg | 6 | APR-501
502 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Pos Security | 6 Kg | 7 | APR-502
503 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Workshop MNK | 6 Kg | 8 | APR-503
504 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Workshop MNK | 6 Kg | 9 | APR-504
505 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Office Blasting | 6 Kg | 10 | APR-505
506 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Ruang Genset (Dalam) | 6 Kg | 11 | APR-506
507 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Workshop MNK | 6 Kg | 12 | APR-507
508 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Emulsion plant | 6 Kg | 1 | APR-508
509 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Emulsion plant | 6 Kg | 2 | APR-509
510 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Emulsion plant | 6 Kg | 3 | APR-510
511 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Emulsion plant | 6 Kg | 4 | APR-511
512 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 1) KPS | 6 Kg | 1 | APR-512
513 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 1) KPS | 6 Kg | 2 | APR-513
514 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 2) KPS | 6 Kg | 3 | APR-514
515 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 1) TKN | 6 Kg | 4 | APR-515
516 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 1) TKN | 6 Kg | 5 | APR-516
517 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 2) TKN | 6 Kg | 6 | APR-517
518 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 1) Bagong | 6 Kg | 7 | APR-518
519 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 1) Bagong | 6 Kg | 8 | APR-519
520 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 1) KPS | 6 Kg | 9 | APR-520
521 | APAR BANGUNAN | WORKSHOP | Workshop Transport (Lantai 1) KPS | 6 Kg | 10 | APR-521
522 | APAR BANGUNAN | PIT KGU | Pos HRM-Phase 7 | 6 Kg | 1 | APR-522
523 | APAR BANGUNAN | PIT KGU | Pos HRM-Phase 7 | 6 Kg | 2 | APR-523
524 | APAR BANGUNAN | MESS BARU | Pos Mako Baru | 6 Kg | 1 | APR-524
525 | APAR BANGUNAN | MESS BARU | Pos Mako Baru | 6 Kg | 2 | APR-525
526 | APAR BANGUNAN | MESS BARU | Pos Mako Baru | 6 Kg | 3 | APR-526
527 | APAR BANGUNAN | MESS BARU | Pos Mako Baru | 6 Kg | 4 | APR-527
528 | APAR BANGUNAN | MESS BARU | Office Hamara | 6 Kg | 1 | APR-528
529 | APAR BANGUNAN | MESS BARU | Office Hamara | 6 Kg | 2 | APR-529
530 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-TENGAH | 6 Kg | 1 | APR-530
531 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-TENGAH | 6 Kg | 2 | APR-531
532 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-TENGAH (Ws. Tyre) | 6 Kg | 1 | APR-532
533 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Rest Area Luar) | 6 Kg | 1 | APR-533
534 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Rest Area Dalam) | 6 Kg | 2 | APR-534
535 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Wheel) | 6 Kg | 3 | APR-535
536 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Track) | 9 Kg | 4 | APR-536
537 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Track) | 6 Kg | 5 | APR-537
538 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Wheel) | 6 Kg | 6 | APR-538
539 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Wheel) | 6 Kg | 7 | APR-539
540 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Fabrikasi) | 6 Kg | 8 | APR-540
541 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Fabrikasi) | 6 Kg | 9 | APR-541
542 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Fa-log) | 6 Kg | 10 | APR-542
543 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Fa-log) | 6 Kg | 11 | APR-543
544 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Genset) | 6 Kg | 12 | APR-544
545 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Bina Pertiwi) | 6 Kg | 13 | APR-545
546 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-U (Lube station) | 6 Kg | 14 | APR-546
547 | APAR BANGUNAN | ROM | ROM AMM | 6 Kg | 1 | APR-547
548 | APAR BANGUNAN | ROM | ROM AMM | 6 Kg | 2 | APR-548
549 | APAR BANGUNAN | PIT KGU | CSA trintin PIT KGU-U | 6 Kg | 1 | APR-549
550 | APAR BANGUNAN | PIT KGU | CSA trintin PIT KGU-U | 6 Kg | 2 | APR-550
551 | APAR BANGUNAN | PIT KGU | Main Road PIT KGU-Tengah | 6 Kg | 1 | APR-551
552 | APAR BANGUNAN | PIT KGU | Main Road PIT KGU-Tengah | 6 Kg | 2 | APR-552
553 | APAR BANGUNAN | PIT KGU | Pit Service KGU-Utara (Bawah Station ERT V.W) | 6 Kg | 1 | APR-553
554 | APAR BANGUNAN | PIT KGU | Pit Service KGU-Utara (Bawah Station ERT V.W) | 6 Kg | 2 | APR-554
555 | APAR BANGUNAN | ASSEMBLY | Workshop High Voltage | 6 Kg | 1 | APR-555
556 | APAR BANGUNAN | ASSEMBLY | Workshop Dewatering | 6 Kg | 2 | APR-556
557 | APAR BANGUNAN | ASSEMBLY | Office CV. SRJ | 6 Kg | 1 | APR-557
558 | APAR BANGUNAN | ASSEMBLY | Lifting PPA | 6 Kg | 1 | APR-558
559 | APAR BANGUNAN | ASSEMBLY | Lifting PPA | 6 Kg | 2 | APR-559
560 | APAR BANGUNAN | ASSEMBLY | Lifting PPA | 6 Kg | 3 | APR-560
561 | APAR BANGUNAN | ASSEMBLY | Lifting PPA | 6 Kg | 4 | APR-561
562 | APAR BANGUNAN | WORKSHOP | Workshop Patria Fabrikasi | 6 Kg | 1 | APR-562
563 | APAR BANGUNAN | WORKSHOP | Workshop BTB | 6 Kg | 1 | APR-563
564 | APAR BANGUNAN | WORKSHOP | Workshop BTB | 6 Kg | 2 | APR-564
565 | APAR BANGUNAN | WORKSHOP | Workshop Support (BAY) | 6 Kg | 1 | APR-565
566 | APAR BANGUNAN | WORKSHOP | Workshop Support (BAY) | 6 Kg | 2 | APR-566
567 | APAR BANGUNAN | WORKSHOP | Workshop Support (Toolroom) | 6 Kg | 3 | APR-567
568 | APAR BANGUNAN | WORKSHOP | Workshop Support | 6 Kg | 4 | APR-568
569 | APAR BANGUNAN | WORKSHOP | Workshop Support | 6 Kg | 5 | APR-569
570 | APAR BANGUNAN | WORKSHOP | Workshop Support (Fabrikasi) | 6 Kg | 6 | APR-570
571 | APAR BANGUNAN | WORKSHOP | Workshop Support (Area Repair Component) | 6 Kg | 7 | APR-571
572 | APAR BANGUNAN | WORKSHOP | Workshop Hauling (BAY) | 6 Kg | 1 | APR-572
573 | APAR BANGUNAN | WORKSHOP | Workshop Hauling (BAY) | 6 Kg | 2 | APR-573
574 | APAR BANGUNAN | WORKSHOP | Workshop Hauling | 6 Kg | 3 | APR-574
575 | APAR BANGUNAN | WORKSHOP | Workshop Hauling | 6 Kg | 4 | APR-575
576 | APAR BANGUNAN | WORKSHOP | Workshop Hauling | 6 Kg | 5 | APR-576
577 | APAR BANGUNAN | WORKSHOP | Workshop Hauling | 6 Kg | 6 | APR-577
578 | APAR BANGUNAN | WORKSHOP | Workshop Hauling (unschedule) | 6 Kg | 7 | APR-578
579 | APAR BANGUNAN | WAREHOUSE | Workshop Hauling (Area Rotable) | 6 Kg | 8 | APR-579
580 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (PT.GMI) | 6 Kg | 1 | APR-580
581 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (PT.GMI) | 6 Kg | 2 | APR-581
582 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (PT.PWB) | 6 Kg | 1 | APR-582
583 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Bina Pertiwi) | 6 Kg | 1 | APR-583
584 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Bina Pertiwi) | 6 Kg | 2 | APR-584
585 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Bina Pertiwi) | 6 Kg | 3 | APR-585
586 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Bina Pertiwi) | 6 Kg | 4 | APR-586
587 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Multindo) | 6 Kg | 1 | APR-587
588 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Cv. United Diesel) | 6 Kg | 1 | APR-588
589 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Cv. United Diesel) | 6 Kg | 2 | APR-589
590 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Cv. United Diesel) | 3 Kg | 3 | APR-590
591 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Eka Dharma) | 6 Kg | 1 | APR-591
592 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Eka Dharma) | 6 Kg | 2 | APR-592
593 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Mastratech) | 6 Kg | 1 | APR-593
594 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Mastratech) | 6 Kg | 2 | APR-594
595 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Mastratech) | 6 Kg | 3 | APR-595
596 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Mastratech) | 6 Kg | 4 | APR-596
597 | APAR BANGUNAN | WAREHOUSE | Warehouse Support (Sentosa Tekhnik) | 6 Kg | 1 | APR-597
598 | APAR BANGUNAN | WORKSHOP | Workshop Boston (Depan) | 6 Kg | 1 | APR-598
599 | APAR BANGUNAN | WORKSHOP | Workshop Boston (Dalam) | 6 Kg | 2 | APR-599
600 | APAR BANGUNAN | WORKSHOP | Workshop Boston (BAY) | 9 Kg | 3 | APR-600
601 | APAR BANGUNAN | WORKSHOP | Workshop Boston (Tools) | 6 Kg | 4 | APR-601
602 | APAR BANGUNAN | WAREHOUSE | Office UT (Luar) | 6 Kg | 1 | APR-602
603 | APAR BANGUNAN | WAREHOUSE | Office UT (Dalam) | 6 Kg | 2 | APR-603
604 | APAR BANGUNAN | WAREHOUSE | Office UT (Dalam) | 6 Kg | 3 | APR-604
605 | APAR BANGUNAN | WAREHOUSE | Office UT (Dalam) | 6 Kg | 4 | APR-605
606 | APAR BANGUNAN | WAREHOUSE | Office UT (Dalam) | 6 Kg | 5 | APR-606
607 | APAR BANGUNAN | WAREHOUSE | Warehouse UT (Lantai 1) | 9 Kg | 6 | APR-607
608 | APAR BANGUNAN | WAREHOUSE | Warehouse UT (Lantai 1) | 6 Kg | 7 | APR-608
609 | APAR BANGUNAN | WAREHOUSE | Warehouse UT (Lantai 1) | 6 Kg | 8 | APR-609
610 | APAR BANGUNAN | WAREHOUSE | Warehouse UT (Lantai 1) | 6 Kg | 9 | APR-610
611 | APAR BANGUNAN | WAREHOUSE | Warehouse UT (Lantai 1) | 6 Kg | 10 | APR-611
612 | APAR BANGUNAN | WAREHOUSE | Warehouse UT (Lantai 2) | 6 Kg | 11 | APR-612
613 | APAR BANGUNAN | WAREHOUSE | Warehouse UT (Lantai 2) | 6 Kg | 12 | APR-613
614 | APAR BANGUNAN | PIT STOP KGU | Pit Stop FMC UT KGU-U | 6 Kg | 1 | APR-614
615 | APAR BANGUNAN | PIT STOP KGU | Pit Stop FMC UT KGU-U | 6 Kg | 2 | APR-615
616 | APAR BANGUNAN | PIT STOP KGU | Pit Stop FMC UT KGU-U (Base 2) | 6 Kg | 3 | APR-616
617 | APAR BANGUNAN | PIT STOP KGU | Pit Stop FMC UT KGU-U (Base 1) | 6 Kg | 4 | APR-617
618 | APAR BANGUNAN | PIT STOP KGU | Pit Stop FMC UT KGU-U (Base 2) | 6 Kg | 5 | APR-618
619 | APAR BANGUNAN | PIT STOP KGU | Pit Stop FMC UT KGU-U (Base 1) | 6 Kg | 6 | APR-619
620 | APAR BANGUNAN | WORKSHOP | Workshop ( BAY Hauling) | 6 Kg | 1 | APR-620
621 | APAR BANGUNAN | WORKSHOP | Workshop ( BAY Hauling) | 6 Kg | 2 | APR-621
622 | APAR BANGUNAN | WORKSHOP | Workshop ( BAY Hauling) | 6 Kg | 3 | APR-622
623 | APAR BANGUNAN | WORKSHOP | Workshop (BAY Track) | 6 Kg | 1 | APR-623
624 | APAR BANGUNAN | WORKSHOP | Workshop (BAY Track) | 6 Kg | 2 | APR-624
625 | APAR BANGUNAN | WORKSHOP | Workshop (BAY Track) | 6 Kg | 3 | APR-625
626 | APAR BANGUNAN | WORKSHOP | Workshop (BAY Track) | 6 Kg | 4 | APR-626
627 | APAR BANGUNAN | WORKSHOP | Workshop (TOOLROOM) | 6 Kg | 5 | APR-627
628 | APAR BANGUNAN | WORKSHOP | Workshop FMC UT (BAY) | 6 Kg | 1 | APR-628
629 | APAR BANGUNAN | WORKSHOP | Workshop FMC UT (BAY) | 6 Kg | 2 | APR-629
630 | APAR BANGUNAN | WORKSHOP | Workshop FMC UT (BAY) | 6 Kg | 3 | APR-630
631 | APAR BANGUNAN | WORKSHOP | Workshop FMC UT (BAY) | 6 Kg | 4 | APR-631
632 | APAR BANGUNAN | WORKSHOP | Workshop FMC UT (Rest Area)) | 6 Kg | 5 | APR-632
633 | APAR BANGUNAN | MESS BARU | Catering NN Baru | 6 Kg | 1 | APR-633
634 | APAR BANGUNAN | MESS BARU | Catering NN Baru | 6 Kg | 2 | APR-634
635 | APAR BANGUNAN | MESS BARU | Catering NN Baru | 6 Kg | 3 | APR-635
636 | APAR BANGUNAN | MESS BARU | Catering NN Baru | 6 Kg | 4 | APR-636
637 | APAR BANGUNAN | MESS BARU | Catering NN Baru | 6 Kg | 5 | APR-637
638 | APAR BANGUNAN | MESS BARU | Catering DSJ Baru | 6 Kg | 1 | APR-638
639 | APAR BANGUNAN | MESS BARU | Catering DSJ Baru | 6 Kg | 2 | APR-639
640 | APAR BANGUNAN | MESS BARU | Catering DSJ Baru | 6 Kg | 3 | APR-640
641 | APAR BANGUNAN | MESS BARU | Catering DSJ Baru | 6 Kg | 4 | APR-641
642 | APAR BANGUNAN | MESS BARU | Catering DSJ Baru | 6 Kg | 5 | APR-642
643 | APAR BANGUNAN | MESS BARU | Catering Patria Baru | 6 Kg | 1 | APR-643
644 | APAR BANGUNAN | MESS BARU | Catering Patria Baru | 6 Kg | 2 | APR-644
645 | APAR BANGUNAN | MESS BARU | Catering Patria Baru | 6 Kg | 3 | APR-645
646 | APAR BANGUNAN | MESS BARU | Catering Patria Baru | 6 Kg | 4 | APR-646
647 | APAR BANGUNAN | MESS BARU | Catering Patria Baru | 6 Kg | 5 | APR-647
648 | APAR BANGUNAN | MESS BARU | Catering KPS Baru | 6 Kg | 1 | APR-648
649 | APAR BANGUNAN | MESS BARU | Catering KPS Baru | 6 Kg | 2 | APR-649
650 | APAR BANGUNAN | MESS BARU | Catering KPS Baru | 6 Kg | 3 | APR-650
651 | APAR BANGUNAN | MESS BARU | Catering KPS Baru | 6 Kg | 4 | APR-651
652 | APAR BANGUNAN | MESS BARU | Catering KPS Baru | 6 Kg | 5 | APR-652
653 | APAR BANGUNAN | PIT KGU | HSCS MERAK KGU-SELATAN | 6 Kg | 1 | APR-653
654 | APAR BANGUNAN | PIT KGU | HSCS RANGKONG-SELATAN | 6 Kg | 1 | APR-654
655 | APAR BANGUNAN | PIT KGU | MAIN ROAD PIT KGU- UTARA | 6 Kg | 1 | APR-655
656 | APAR BANGUNAN | PIT KGU | MAIN ROAD PIT KGU- SELATAN | 6 Kg | 1 | APR-656
657 | APAR BANGUNAN | PIT KGU | HSCS RAJAWALI (KGU TENGAH) | 6 Kg | 1 | APR-657
658 | APAR BANGUNAN | PIT KGU | HSCS ELANG-UTARA | 6 Kg | 1 | APR-658
659 | APAR BANGUNAN | PIT KGU | HSCS GARUDA | 6 Kg | 1 | APR-659
660 | APAR BANGUNAN | PIT KGU | CHANGE SHIFT 2000 PIT KGU-UTARA | 6 Kg | 1 | APR-660
661 | APAR BANGUNAN | MESS BARU | IPAL 03 | 6 Kg | 1 | APR-661
662 | APAR BANGUNAN | MESS BARU | IPAL 03 | 6 Kg | 2 | APR-662
663 | APAR BANGUNAN | WORKSHOP | OFFICE TRACK BARU | 6 Kg | 1 | APR-663
664 | APAR BANGUNAN | WORKSHOP | OFFICE TRACK BARU | 6 Kg | 2 | APR-664
665 | APAR BANGUNAN | WORKSHOP | OFFICE TRACK BARU | 6 Kg | 3 | APR-665
666 | APAR BANGUNAN | WORKSHOP | OFFICE TRACK BARU | 6 Kg | 4 | APR-666
667 | APAR BANGUNAN | WORKSHOP | OFFICE TRACK BARU | 6 Kg | 5 | APR-667
668 | APAR BANGUNAN | MESS BARU | MESS F.1 | 6 Kg | 1 | APR-668
669 | APAR BANGUNAN | MESS BARU | MESS F.1 | 6 Kg | 2 | APR-669
670 | APAR BANGUNAN | MESS BARU | MESS F.1 | 6 Kg | 3 | APR-670
671 | APAR BANGUNAN | MESS BARU | MESS F.1 | 6 Kg | 4 | APR-671
672 | APAR BANGUNAN | MESS BARU | MESS F.1 | 6 Kg | 5 | APR-672
673 | APAR BANGUNAN | MESS BARU | MESS F.2 | 6 Kg | 1 | APR-673
674 | APAR BANGUNAN | MESS BARU | MESS F.2 | 6 Kg | 2 | APR-674
675 | APAR BANGUNAN | MESS BARU | MESS F.2 | 6 Kg | 3 | APR-675
676 | APAR BANGUNAN | MESS BARU | MESS F.2 | 6 Kg | 4 | APR-676
677 | APAR BANGUNAN | MESS BARU | MESS F.2 | 6 Kg | 5 | APR-677
678 | APAR BANGUNAN | MESS BARU | WTP 02 | 6 Kg | 1 | APR-678
679 | APAR BANGUNAN | MESS BARU | WTP 02 | 6 Kg | 2 | APR-679
680 | APAR BANGUNAN | MESS BARU | WTP 02 | 6 Kg | 3 | APR-680
681 | APAR BANGUNAN | PIT KGU | Pit Service KGU-Utara (Bawah Station ERT V.W) | 6 Kg | 3 | APR-682
682 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 1 | APR-683
683 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 2 | APR-684
684 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 3 | APR-685
685 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 4 | APR-686
686 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 5 | APR-687
687 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 6 | APR-688
688 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 7 | APR-689
689 | APAR BANGUNAN | PIT KGU | VIEW POINT KGU - SELATAN | 6 Kg | 1 | APR-690
690 | APAR BANGUNAN | PIT KGU | VIEW POINT KGU - SELATAN | 6 Kg | 2 | APR-691
691 | APAR BANGUNAN | PIT KGU | MANPOWER KGU | 6 Kg | 4 | APR-692
692 | APAR BANGUNAN | MESS BARU | GENSET MESS BARU | 6 Kg | 5 | APR-693
693 | APAR BANGUNAN | MESS BARU | MESS E.3 | 6 Kg | 1 | APR-694
694 | APAR BANGUNAN | MESS BARU | MESS E.3 | 6 Kg | 2 | APR-695
695 | APAR BANGUNAN | MESS BARU | MESS E.3 | 6 Kg | 3 | APR-696
696 | APAR BANGUNAN | MESS BARU | MESS E.3 | 6 Kg | 4 | APR-697
697 | APAR BANGUNAN | MESS BARU | MESS E.3 | 6 Kg | 5 | APR-698
698 | APAR BANGUNAN | MESS BARU | OFFICE GA (PANTRY) | 6 Kg | 6 | APR-699
699 | APAR BANGUNAN | MESS BARU | OFFICE GA (R.TRAINING) | 6 Kg | 7 | APR-700
700 | APAR BANGUNAN | MESS BARU | OFFICE GA (Galon) | 6 Kg | 8 | APR-701
701 | APAR BANGUNAN | PIT KGU | HSCS CENDRAWASIH | 6 Kg | 1 | APR-702
702 | APAR BANGUNAN | MESS BARU | GUDANG KOPERASI | 6 Kg | 1 | APR-703
703 | APAR BANGUNAN | MESS BARU | GUDANG KOPERASI | 6 Kg | 2 | APR-704
704 | APAR BANGUNAN | FUEL STORAGE | FUEL STORAGE (ENGINE HYDRANT BARU) | 6 Kg | 21 | APR-705
705 | APAR BANGUNAN | FUEL STORAGE | FUEL STORAGE )HYDRANT BARU) | 68 Kg | 22 | APR-706
706 | APAR BANGUNAN | FUEL STORAGE | FUEL STORAGE )HYDRANT BARU) | 68 Kg | 23 | APR-707
707 | APAR BANGUNAN | WORKSHOP | WORKSHOP WHEEL BARU | 6 Kg | 1 | APR-708
708 | APAR BANGUNAN | WORKSHOP | WORKSHOP WHEEL BARU | 6 Kg | 2 | APR-709
709 | APAR BANGUNAN | WORKSHOP | WORKSHOP WHEEL BARU | 6 Kg | 3 | APR-710
710 | APAR BANGUNAN | WORKSHOP | WORKSHOP WHEEL BARU | 6 Kg | 4 | APR-711
711 | APAR BANGUNAN | WORKSHOP | WORKSHOP WHEEL BARU | 6 Kg | 5 | APR-712
712 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-SELATAN (REST AREA) | 6 Kg | 1 | APR-713
713 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-SELATAN (REST AREA) | 6 Kg | 2 | APR-714
714 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-SELATAN (LUBE STATION) | 6 Kg | 3 | APR-715
715 | APAR BANGUNAN | PIT KGU | HSCS KASUARI (KGU UTARA) | 6 Kg | 1 | APR-716
716 | APAR BANGUNAN | WORKSHOP | OFFICE TRACK BARU | 6 Kg | 6 | APR-717
717 | APAR BANGUNAN | STATION ERT | OFFICE ERT BARU | 6 Kg | 1 | APR-718
718 | APAR BANGUNAN | STATION ERT | OFFICE ERT BARU | 6 Kg | 2 | APR-719
719 | APAR BANGUNAN | STATION ERT | OFFICE ERT BARU | 6 Kg | 3 | APR-720
720 | APAR BANGUNAN | STATION ERT | OFFICE ERT BARU | 6 Kg | 4 | APR-721
721 | APAR BANGUNAN | STATION ERT | OFFICE ERT BARU | 6 Kg | 5 | APR-722
722 | APAR BANGUNAN | MESS BARU | SWIMING POOL | 6 Kg | 1 | APR-723
723 | APAR BANGUNAN | MESS BARU | SWIMING POOL | 6 Kg | 2 | APR-724
724 | APAR BANGUNAN | WORKSHOP | WORKSHOP HAULING BARU | 6 Kg | 1 | APR-725
725 | APAR BANGUNAN | WORKSHOP | WORKSHOP HAULING BARU | 6 Kg | 2 | APR-726
726 | APAR BANGUNAN | WORKSHOP | WORKSHOP HAULING BARU | 6 Kg | 3 | APR-727
727 | APAR BANGUNAN | WORKSHOP | WORKSHOP HAULING BARU | 6 Kg | 4 | APR-728
728 | APAR BANGUNAN | WORKSHOP | WORKSHOP HAULING BARU | 6 Kg | 5 | APR-729
729 | APAR BANGUNAN | WORKSHOP | WORKSHOP HAULING BARU | 6 Kg | 6 | APR-730
730 | APAR BANGUNAN | MESS BARU | MESS E.4 | 6 Kg | 1 | APR-731
731 | APAR BANGUNAN | MESS BARU | MESS E.4 | 6 Kg | 2 | APR-732
732 | APAR BANGUNAN | MESS BARU | MESS E.4 | 6 Kg | 3 | APR-733
733 | APAR BANGUNAN | MESS BARU | MESS E.4 | 6 Kg | 4 | APR-734
734 | APAR BANGUNAN | MESS BARU | MESS E.4 | 6 Kg | 5 | APR-735
735 | APAR BANGUNAN | PIT KGU | HSCS KASUARI (KGU UTARA) | 6 Kg | 2 | APR-736
736 | APAR BANGUNAN | MESS BARU | MASJID MESS BARU | 6 Kg | 1 | APR-737
737 | APAR BANGUNAN | MESS BARU | MASJID MESS BARU | 6 Kg | 2 | APR-738
738 | APAR BANGUNAN | WAREHOUSE | Warehouse Open Storage | 6 Kg | 18 | APR-739
739 | APAR BANGUNAN | WAREHOUSE | Warehouse SWI | 6 Kg | 1 | APR-740
740 | APAR BANGUNAN | WAREHOUSE | Warehouse SWI | 6 Kg | 2 | APR-741
741 | APAR BANGUNAN | PIT KGU | CHANGE SHIFT 2000 PIT KGU-Selatan | 6 Kg | 1 | APR-742
742 | APAR BANGUNAN | MESS BARU | GARDU ELECTRIC | 6 Kg | 1 | APR-743
743 | APAR BANGUNAN | MESS BARU | Mess Anggrek B (Wanita) | 6 Kg | 7 | APR-744
744 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 8 | APR-745
745 | APAR BANGUNAN | WORKSHOP | WORKSHOP COMEX BARU | 6 Kg | 9 | APR-746
746 | APAR BANGUNAN | PIT STOP KGU | PIT STOP KGU-SELATAN (TOOLSROOM) | 6 Kg | 4 | APR-747
747 | APAR BANGUNAN | PIT STOP KGU | KONTAINER OUTPIT 3C | 6 Kg | 1 | APR-748
748 | APAR BANGUNAN | PIT STOP KGU | KONTAINER OUTPIT 3C | 6 Kg | 2 | APR-749
749 | APAR BANGUNAN | PIT STOP KGU | KONTAINER OUTPI 3C | 6 Kg | 3 | APR-750
750 | APAR BANGUNAN | WORKSHOP | WORKSHOP WHEEL (KONTAINER GENSET) | 6 Kg | 1 | APR-751
751 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Open Storage Baru) | 6 Kg | 1 | APR-752
752 | APAR BANGUNAN | WAREHOUSE | Warehouse FA&LOG (Open Storage Baru) | 6 Kg | 2 | APR-753
753 | APAR BANGUNAN | WORKSHOP | Worksop Suport (BAY1) | 6 Kg | 1 | APR-754
754 | APAR BANGUNAN | WORKSHOP | Worksop Suport (BAY2) | 6 Kg | 2 | APR-755
755 | APAR BANGUNAN | WORKSHOP | Worksop Suport (BAY3) | 6 Kg | 3 | APR-756
756 | APAR BANGUNAN | WORKSHOP | Worksop Suport (Office lantai1) | 6 Kg | 4 | APR-757
757 | APAR BANGUNAN | WORKSHOP | Worksop Suport (Office Latai2 R. Meting) | 6 Kg | 5 | APR-758
758 | APAR BANGUNAN | WORKSHOP | Worksop Suport (Office Latai2 R. Istirahat Mekanik) | 6 Kg | 6 | APR-759
759 | APAR BANGUNAN | PIT KGU | HSCS Elang | 6 Kg | 2 | APR-76-
762 | APAR BANGUNAN | PIT KGU | VIEW POINT KGU-TENGAH | 7 Kg | 1 | APR-761
762 | APAR BANGUNAN | PIT KGU | VIEW POINT KGU-TENGAH | 7 Kg | 2 | APR-762
763 | APAR BANGUNAN | GUDANG HANDAK | (Gudang Handak) Kontainer Flare | 6 Kg | 13 | APR-763
763 | APAR BANGUNAN | PIT KGU | PIT STOP TRACK KGU TENGAH | 6 Kg | 1 | APR-764
764 | APAR BANGUNAN | PIT KGU | PIT STOP TRACK KGU TENGAH | 6 Kg | 2 | APR-765
765 | APAR BANGUNAN | PIT KGU | PIT STOP TRACK KGU TENGAH | 6 Kg | 3 | APR-766